## epa_08_12_a
Table 8.12.A. U.S. Transmission Circuit Sustained Automatic Outage Counts and Hours
by High-Voltage Size and NERC Region, 2011
Sustained Automatic Outage Counts
Voltage |  | Region
Type | Operating (kV) | FRCC | MRO | NPCC | RFC | SERC | SPP | TRE | WECC | Contiguous U.S.
AC | 200-299 | 116 | 65 | 12 | 153 | 276 | 58 | -- | 488 | 1168
AC | 300-399 | -- | 64 | 73 | 105 | 69 | 60 | 132 | 228 | 731
AC | 400-599 | 5 | 5 | -- | 16 | 117 | 1 | -- | 123 | 267
AC | 600+ | -- | -- | 2 | 12 | -- | -- | -- | -- | 14
AC Total |  | 121 | 134 | 87 | 286 | 462 | 119 | 132 | 839 | 2180
DC | 100-199 | -- | -- | -- | -- | -- | -- | -- | -- | --
DC | 200-299 | -- | 20 | -- | -- | -- | -- | -- | 2 | 22
DC | 300-399 | -- | -- | -- | -- | -- | -- | -- | -- | --
DC | 400-499 | -- | 7 | -- | -- | -- | -- | -- | -- | 7
DC | 500-599 | -- | -- | -- | 6 | -- | -- | -- | 9 | 15
DC | 600+ | -- | -- | -- | -- | -- | -- | -- | -- | --
DC Total |  | -- | 27 | -- | 6 | -- | -- | -- | 11 | 44
Grand Total |  | 121 | 161 | 87 | 292 | 462 | 119 | 132 | 850 | 2224
Total Outages per 1,000 Circuit Miles
Region
|  | FRCC | MRO | NPCC | RFC | SERC | SPP | TRE | WECC | Contiguous U.S.
Rate |  | 16.99 | 7.67 | 12.75 | 11.49 | 13.89 | 15.34 | 13.89 | 13.71 | 12.87
Sustained Automatic Outage Hours
Voltage |  | Region
Type | Operating (kV) | FRCC | MRO | NPCC | RFC | SERC | SPP | TRE | WECC | Contiguous U.S.
AC | 200-299 | 1651 | 7043 | 91 | 9220 | 11860 | 421 | -- | 6686 | 36972
AC | 300-399 | -- | 3206 | 10484 | 5626 | 2774 | 685 | 1909 | 1114 | 25797
AC | 400-599 | 24 | 11 | -- | 11874 | 14909 | * | -- | 1071 | 27889
AC | 600+ | -- | -- | 4 | 185 | -- | -- | -- | -- | 189
AC Total |  | 1675 | 10260 | 10579 | 26906 | 29543 | 1106 | 1909 | 8870 | 90847
DC | 100-199 | -- | -- | -- | -- | -- | -- | -- | -- | --
DC | 200-299 | -- | 252 | -- | -- | -- | -- | -- | 6 | 258
DC | 300-399 | -- | -- | -- | -- | -- | -- | -- | -- | --
DC | 400-499 | -- | 272 | -- | -- | -- | -- | -- | -- | 272
DC | 500-599 | -- | -- | -- | 358 | -- | -- | -- | 299 | 657
DC | 600+ | -- | -- | -- | -- | -- | -- | -- | -- | --
DC Total |  | -- | 524 | -- | 358 | -- | -- | -- | 305 | 1187
Grand Total |  | 1675 | 10784 | 10579 | 27264 | 29543 | 1106 | 1909 | 9175 | 92034
Outage Hours per Outage Incident
Region
|  | FRCC | MRO | NPCC | RFC | SERC | SPP | TRE | WECC | Contiguous U.S.
Rate |  | 13.84 | 66.98 | 121.59 | 93.37 | 63.95 | 9.29 | 14.46 | 10.79 | 41.38
Notes: * = Value is less than half of the smallest unit of measure. (e.g., for values with no decimals, the smallest unit is 1 then values under 0.5 are shown as *.) Circuit Miles for each region is displayed in Table 8.10.A. An Automatic Outage is an outage which results from the automatic operation of a switching device, causing an Element to change from an In-Service State to a not In-Service State. A Sustained Outage is an automatic outage with an outage duration of a minute or greater. Source: U.S. Energy Information Administration, Form EIA-411, "Coordinated Bulk Power Supply Program Report."