## epa_08_13_a
Table 8.13.A. U.S. Transmission Circuit Sustained Automatic Outage Counts and
Hours by Cause Code and by NERC Region, 2011 (Page 1)
AC & DC Circuit Outage Counts
Sustained Outage Causes | FRCC | MRO | NPCC | RFC | SERC | SPP | TRE | WECC | Contiguous U.S.
Weather, excluding lightning | 9 | 42 | 7 | 27 | 135 | 23 | 10 | 76 | 329
Lightning | 9 | 17 | 7 | 23 | 39 | 19 | 18 | 87 | 219
Environmental | -- | -- | -- | 3 | -- | 1 | -- | 1 | 5
Contamination | 1 | -- | -- | 2 | 29 | 1 | 17 | 4 | 54
Foreign Interference | 27 | 2 | 4 | 9 | 19 | 2 | 1 | 31 | 95
Fire | 4 | -- | -- | 2 | 6 | 4 | 14 | 18 | 48
Vandalism, Terrorism, or Malicious Acts | -- | -- | -- | -- | 1 | -- | -- | 2 | 3
Failed AC Substation Equipment | 5 | 13 | 8 | 67 | 53 | 14 | 26 | 75 | 261
Failed AC/DC Terminal Equipment | -- | 12 | -- | 4 | -- | -- | -- | 5 | 21
Failed Protection System Equipment | 9 | 22 | 13 | 45 | 34 | 3 | 8 | 42 | 176
Failed AC Circuit Equipment | 28 | 4 | 22 | 35 | 54 | 22 | 11 | 58 | 234
Failed DC Circuit Equipment | [8 empty] | -- | bar: AC & DC Circuit Outage Counts FRCC to AC & DC Circuit Outage Counts WECC
Vegetation | -- | -- | 6 | 4 | 13 | 1 | -- | 7 | 31
Power System Condition | 1 | 3 | -- | 8 | 13 | 1 | -- | 77 | 103
Human Error | 9 | 27 | 8 | 36 | 29 | 8 | 19 | 92 | 228
Unknown | 17 | 15 | 11 | 17 | 21 | 17 | 5 | 222 | 325
Other | 2 | 4 | 1 | 10 | 16 | 3 | 3 | 53 | 92
TOTAL | 121 | 161 | 87 | 292 | 462 | 119 | 132 | 850 | 2224
Percentage of Total AC & DC Circuit Outage Counts
Sustained Outage Causes | FRCC | MRO | NPCC | RFC | SERC | SPP | TRE | WECC | Contiguous U.S.
Weather, excluding lightning | 7.44% | 26.09% | 8.05% | 9.25% | 29.22% | 19.33% | 7.58% | 8.94% | 14.79%
Lightning | 7.44% | 10.56% | 8.05% | 7.88% | 8.44% | 15.97% | 13.64% | 10.24% | 9.85%
Environmental | 0% | 0% | 0% | 1.03% | 0% | 0.84% | 0% | 0.12% | 0.22%
Contamination | 0.83% | 0% | 0% | 0.68% | 6.28% | 0.84% | 12.88% | 0.47% | 2.43%
Foreign Interference | 22.31% | 1.24% | 4.6% | 3.08% | 4.11% | 1.68% | 0.76% | 3.65% | 4.27%
Fire | 3.31% | 0% | 0% | 0.68% | 1.3% | 3.36% | 10.61% | 2.12% | 2.16%
Vandalism, Terrorism, or Malicious Acts | 0% | 0% | 0% | 0% | 0.22% | 0% | 0% | 0.24% | 0.13%
Failed AC Substation Equipment | 4.13% | 8.07% | 9.2% | 22.95% | 11.47% | 11.76% | 19.7% | 8.82% | 11.74%
Failed AC/DC Terminal Equipment | 0% | 7.45% | 0% | 1.37% | 0% | 0% | 0% | 0.59% | 0.94%
Failed Protection System Equipment | 7.44% | 13.66% | 14.94% | 15.41% | 7.36% | 2.52% | 6.06% | 4.94% | 7.91%
Failed AC Circuit Equipment | 23.14% | 2.48% | 25.29% | 11.99% | 11.69% | 18.49% | 8.33% | 6.82% | 10.52%
Failed DC Circuit Equipment | [8 empty] | 0% | bar: Percentage of Total AC & DC Circuit Outage Counts FRCC to Percentage of Total AC & DC Circuit Outage Counts WECC
Vegetation | 0% | 0% | 6.9% | 1.37% | 2.81% | 0.84% | 0% | 0.82% | 1.39%
Power System Condition | 0.83% | 1.86% | 0% | 2.74% | 2.81% | 0.84% | 0% | 9.06% | 4.63%
Human Error | 7.44% | 16.77% | 9.2% | 12.33% | 6.28% | 6.72% | 14.39% | 10.82% | 10.25%
Unknown | 14.05% | 9.32% | 12.64% | 5.82% | 4.55% | 14.29% | 3.79% | 26.12% | 14.61%
Other | 1.65% | 2.48% | 1.15% | 3.42% | 3.46% | 2.52% | 2.27% | 6.24% | 4.14%
TOTAL | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Notes: Detailed information on the Transmission Availability Data System outage causes is available at: http://www.nerc.com/docs/pc/tadswg/Appendix%207%2020101202a%20clean.pdf Source: U.S. Energy Information Administration, Form EIA-411, "Coordinated Bulk Power Supply Program Report."
Table 8.13.A. U.S. Transmission Circuit Sustained Automatic Outage Counts and
Hours by Cause Code and by NERC Region, 2011 (Page 2)
AC & DC Circuit Outage Hours
Sustained Outage Causes | FRCC | MRO | NPCC | RFC | SERC | SPP | TRE | WECC | Contiguous U.S.
Weather, excluding lightning | 4 | 837.48 | 314.47 | 3022.58 | 16920.95 | 192.82 | 3.08 | 220.87 | 21516.25
Lightning | 68.55 | 5.33 | 6.53 | 70.12 | 60.72 | 44.5 | 28.72 | 196.87 | 481.34
Environmental | -- | -- | -- | 2073.68 | -- | -- | -- | 24 | 2097.68
Contamination | 4.97 | -- | -- | 3.43 | 481.23 | 0.03 | 59.45 | 31.42 | 580.53
Foreign Interference | 43.65 | 0.65 | 6.48 | 72.08 | 390.7 | 0.12 | 2 | 5.57 | 521.25
Fire | 0.37 | -- | -- | 22.78 | 181.2 | 93.97 | 691.22 | 114.98 | 1104.52
Vandalism, Terrorism, or Malicious Acts | -- | -- | -- | -- | 0.03 | -- | -- | 41.85 | 41.88
Failed AC Substation Equipment | 1186.19 | 1870.4 | 961.6 | 11018.19 | 7982.22 | 251.43 | 225.97 | 1967.2 | 25463.2
Failed AC/DC Terminal Equipment | -- | 100.52 | -- | 356.42 | -- | -- | -- | 296.93 | 753.87
Failed Protection System Equipment | 20.62 | 233.77 | 189.73 | 544.25 | 237.45 | 3.5 | 25.68 | 346.12 | 1601.12
Failed AC Circuit Equipment | 323.43 | 7276.47 | 7545.57 | 5945.62 | 2400.18 | 425.35 | 445.6 | 2614.23 | 26976.45
Failed DC Circuit Equipment | -- | 214.15 | -- | -- | -- | -- | -- | -- | 214.15
Vegetation | -- | -- | 58.13 | 25.2 | 580.68 | 10.07 | -- | 179.1 | 853.18
Power System Condition | 0.18 | 7.52 | 0.08 | 223.98 | 91.73 | 0.02 | 234.22 | 313.36 | 871.09
Human Error | 1.52 | 19.94 | 1477.53 | 44.4 | 143.1 | 9.15 | 155.75 | 128.54 | 1979.93
Unknown | 19.65 | 54.46 | 18.47 | 25.32 | 59.5 | 48.92 | 1.7 | 2459.6 | 2687.62
Other | 1.75 | 163.01 | -- | 3815.92 | 13.25 | 25.88 | 35.28 | 234.59 | 4289.68
TOTAL | 1674.88 | 10783.7 | 10578.59 | 27263.97 | 29542.94 | 1105.76 | 1908.67 | 9175.23 | 92033.74
Percentage of Total AC & DC Circuit Outage Hours
Sustained Outage Causes | FRCC | MRO | NPCC | RFC | SERC | SPP | TRE | WECC | Contiguous U.S.
Weather, excluding lightning | 0.24% | 7.77% | 2.97% | 11.09% | 57.28% | 17.44% | 0.16% | 2.41% | 23.38%
Lightning | 4.09% | 0.05% | 0.06% | 0.26% | 0.21% | 4.02% | 1.5% | 2.15% | 0.52%
Environmental | 0% | 0% | 0% | 7.61% | 0% | 0% | 0% | 0.26% | 2.28%
Contamination | 0.3% | 0% | 0% | 0.01% | 1.63% | 0% | 3.11% | 0.34% | 0.63%
Foreign Interference | 2.61% | 0.01% | 0.06% | 0.26% | 1.32% | 0.01% | 0.1% | 0.06% | 0.57%
Fire | 0.02% | 0% | 0% | 0.08% | 0.61% | 8.5% | 36.21% | 1.25% | 1.2%
Vandalism, Terrorism, or Malicious Acts | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.46% | 0.05%
Failed AC Substation Equipment | 70.82% | 17.34% | 9.09% | 40.41% | 27.02% | 22.74% | 11.84% | 21.44% | 27.67%
Failed AC/DC Terminal Equipment | 0% | 0.93% | 0% | 1.31% | 0% | 0% | 0% | 3.24% | 0.82%
Failed Protection System Equipment | 1.23% | 2.17% | 1.79% | 2% | 0.8% | 0.32% | 1.35% | 3.77% | 1.74%
Failed AC Circuit Equipment | 19.31% | 67.48% | 71.33% | 21.81% | 8.12% | 38.47% | 23.35% | 28.49% | 29.31%
Failed DC Circuit Equipment | 0% | 1.99% | 0% | 0% | 0% | 0% | 0% | 0% | 0.23%
Vegetation | 0% | 0% | 0.55% | 0.09% | 1.97% | 0.91% | 0% | 1.95% | 0.93%
Power System Condition | 0.01% | 0.07% | 0% | 0.82% | 0.31% | 0% | 12.27% | 3.42% | 0.95%
Human Error | 0.09% | 0.18% | 13.97% | 0.16% | 0.48% | 0.83% | 8.16% | 1.4% | 2.15%
Unknown | 1.17% | 0.51% | 0.17% | 0.09% | 0.2% | 4.42% | 0.09% | 26.81% | 2.92%
Other | 0.1% | 1.51% | 0% | 14% | 0.04% | 2.34% | 1.85% | 2.56% | 4.66%
TOTAL | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Notes: Detailed information on the Transmission Availability Data System outage causes is available at: http://www.nerc.com/docs/pc/tadswg/Appendix%207%2020101202a%20clean.pdf Source: U.S. Energy Information Administration, Form EIA-411, "Coordinated Bulk Power Supply Program Report."