## epa_08_13_b
Table 8.13.B. U.S. Transformer Sustained Automatic Outage Counts and
Hours by Cause Code and by NERC Region, 2011 (Page 1)
Transformer Outage Counts
Sustained Outage Causes | FRCC | MRO | NPCC | RFC | SERC | SPP | TRE | WECC | Contiguous U.S.
Weather, excluding lightning | [8 empty] | -- | bar: Transformer Outage Counts FRCC to Transformer Outage Counts WECC
Lightning | [8 empty] | -- | bar: Transformer Outage Counts FRCC to Transformer Outage Counts WECC
Environmental | [8 empty] | 1 | bar: Transformer Outage Counts FRCC to Transformer Outage Counts WECC
Contamination | [8 empty] | -- | bar: Transformer Outage Counts FRCC to Transformer Outage Counts WECC
Foreign Interference | [8 empty] | -- | bar: Transformer Outage Counts FRCC to Transformer Outage Counts WECC
Fire | [8 empty] | -- | bar: Transformer Outage Counts FRCC to Transformer Outage Counts WECC
Vandalism, Terrorism, or Malicious Acts | [8 empty] | -- | bar: Transformer Outage Counts FRCC to Transformer Outage Counts WECC
Failed AC Substation Equipment | 2 | -- | -- | 5 | 4 | 1 | -- | 3 | 15
Failed AC/DC Terminal Equipment | [8 empty] | -- | bar: Transformer Outage Counts FRCC to Transformer Outage Counts WECC
Failed Protection System Equipment | [8 empty] | 2 | bar: Transformer Outage Counts FRCC to Transformer Outage Counts WECC
Failed AC Circuit Equipment | -- | -- | 4 | 2 | -- | -- | -- | -- | 6
Failed DC Circuit Equipment | [8 empty] | -- | bar: Transformer Outage Counts FRCC to Transformer Outage Counts WECC
Vegetation | [8 empty] | 1 | bar: Transformer Outage Counts FRCC to Transformer Outage Counts WECC
Power System Condition | -- | 1 | -- | -- | 2 | -- | -- | -- | 3
Human Error | -- | 1 | -- | 2 | -- | -- | -- | 1 | 4
Unknown | [8 empty] | 2 | bar: Transformer Outage Counts FRCC to Transformer Outage Counts WECC
Other | [8 empty] | 1 | bar: Transformer Outage Counts FRCC to Transformer Outage Counts WECC
TOTAL | 2 | 3 | 4 | 12 | 9 | 1 | -- | 4 | 35
Percentage of Total Transformer Outage Counts
Sustained Outage Causes | FRCC | MRO | NPCC | RFC | SERC | SPP | TRE | WECC | Contiguous U.S.
Weather, excluding lightning | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Counts FRCC to Percentage of Total Transformer Outage Counts WECC
Lightning | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Counts FRCC to Percentage of Total Transformer Outage Counts WECC
Environmental | 0% | 33.33% | 0% | 0% | 0% | 0% | -- | 0% | 2.86%
Contamination | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Counts FRCC to Percentage of Total Transformer Outage Counts WECC
Foreign Interference | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Counts FRCC to Percentage of Total Transformer Outage Counts WECC
Fire | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Counts FRCC to Percentage of Total Transformer Outage Counts WECC
Vandalism, Terrorism, or Malicious Acts | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Counts FRCC to Percentage of Total Transformer Outage Counts WECC
Failed AC Substation Equipment | 100% | 0% | 0% | 41.67% | 44.44% | 100% | -- | 75% | 42.86%
Failed AC/DC Terminal Equipment | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Counts FRCC to Percentage of Total Transformer Outage Counts WECC
Failed Protection System Equipment | 0% | 0% | 0% | 8.33% | 11.11% | 0% | -- | 0% | 5.71%
Failed AC Circuit Equipment | 0% | 0% | 100% | 16.67% | 0% | 0% | -- | 0% | 17.14%
Failed DC Circuit Equipment | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Counts FRCC to Percentage of Total Transformer Outage Counts WECC
Vegetation | 0% | 0% | 0% | 0% | 11.11% | 0% | -- | 0% | 2.86%
Power System Condition | 0% | 33.33% | 0% | 0% | 22.22% | 0% | -- | 0% | 8.57%
Human Error | 0% | 33.33% | 0% | 16.67% | 0% | 0% | -- | 25% | 11.43%
Unknown | 0% | 0% | 0% | 8.33% | 11.11% | 0% | -- | 0% | 5.71%
Other | 0% | 0% | 0% | 8.33% | 0% | 0% | -- | 0% | 2.86%
TOTAL | 100% | 100% | 100% | 100% | 100% | 100% | -- | 100% | 100%
Notes: Detailed information on the Transmission Availability Data System outage causes is available at: http://www.nerc.com/docs/pc/tadswg/Appendix%207%2020101202a%20clean.pdf Source: U.S. Energy Information Administration, Form EIA-411, "Coordinated Bulk Power Supply Program Report."
Table 8.13.B. U.S. Transformer Sustained Automatic Outage Counts and
Hours by Cause Code and by NERC Region, 2011 (Page 2)
Transformer Outage Hours
Sustained Outage Causes | FRCC | MRO | NPCC | RFC | SERC | SPP | TRE | WECC | Contiguous U.S.
Weather, excluding lightning | [8 empty] | -- | bar: Transformer Outage Hours FRCC to Transformer Outage Hours WECC
Lightning | [8 empty] | -- | bar: Transformer Outage Hours FRCC to Transformer Outage Hours WECC
Environmental | [8 empty] | -- | bar: Transformer Outage Hours FRCC to Transformer Outage Hours WECC
Contamination | [8 empty] | -- | bar: Transformer Outage Hours FRCC to Transformer Outage Hours WECC
Foreign Interference | [8 empty] | -- | bar: Transformer Outage Hours FRCC to Transformer Outage Hours WECC
Fire | [8 empty] | -- | bar: Transformer Outage Hours FRCC to Transformer Outage Hours WECC
Vandalism, Terrorism, or Malicious Acts | [8 empty] | -- | bar: Transformer Outage Hours FRCC to Transformer Outage Hours WECC
Failed AC Substation Equipment | 7459.68 | 12.57 | -- | 7368.85 | 9702.97 | 2.33 | -- | 81.93 | 24628.33
Failed AC/DC Terminal Equipment | [8 empty] | -- | bar: Transformer Outage Hours FRCC to Transformer Outage Hours WECC
Failed Protection System Equipment | -- | -- | -- | 27.98 | -- | -- | -- | -- | 27.98
Failed AC Circuit Equipment | -- | -- | 454.25 | 18.92 | -- | -- | -- | -- | 473.17
Failed DC Circuit Equipment | [8 empty] | -- | bar: Transformer Outage Hours FRCC to Transformer Outage Hours WECC
Vegetation | -- | -- | -- | -- | 4.22 | -- | -- | -- | 4.22
Power System Condition | -- | -- | -- | -- | 91.9 | -- | -- | -- | 91.9
Human Error | -- | 11.47 | -- | 8.4 | -- | -- | -- | 1.3 | 21.17
Unknown | -- | -- | -- | -- | 12.67 | -- | -- | -- | 12.67
Other | -- | 0.43 | -- | -- | -- | -- | -- | -- | 0.43
TOTAL | 7459.68 | 24.47 | 454.25 | 7424.15 | 9811.76 | 2.33 | -- | 83.23 | 25259.87
Percentage of Total Transformer Outage Hours
outage_cause | FRCC | MRO | NPCC | RFC | SERC | SPP | TRE | WECC | Contiguous U.S.
Weather, excluding lightning | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Hours FRCC to Percentage of Total Transformer Outage Hours WECC
Lightning | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Hours FRCC to Percentage of Total Transformer Outage Hours WECC
Environmental | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Hours FRCC to Percentage of Total Transformer Outage Hours WECC
Contamination | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Hours FRCC to Percentage of Total Transformer Outage Hours WECC
Foreign Interference | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Hours FRCC to Percentage of Total Transformer Outage Hours WECC
Fire | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Hours FRCC to Percentage of Total Transformer Outage Hours WECC
Vandalism, Terrorism, or Malicious Acts | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Hours FRCC to Percentage of Total Transformer Outage Hours WECC
Failed AC Substation Equipment | 100% | 51.37% | 0% | 99.26% | 98.89% | 100% | -- | 98.44% | 97.5%
Failed AC/DC Terminal Equipment | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Hours FRCC to Percentage of Total Transformer Outage Hours WECC
Failed Protection System Equipment | 0% | 0% | 0% | 0.38% | 0% | 0% | -- | 0% | 0.11%
Failed AC Circuit Equipment | 0% | 0% | 100% | 0.25% | 0% | 0% | -- | 0% | 1.87%
Failed DC Circuit Equipment | [8 empty] | 0% | bar: Percentage of Total Transformer Outage Hours FRCC to Percentage of Total Transformer Outage Hours WECC
Vegetation | 0% | 0% | 0% | 0% | 0.04% | 0% | -- | 0% | 0.02%
Power System Condition | 0% | 0% | 0% | 0% | 0.94% | 0% | -- | 0% | 0.36%
Human Error | 0% | 46.87% | 0% | 0.11% | 0% | 0% | -- | 1.56% | 0.08%
Unknown | 0% | 0% | 0% | 0% | 0.13% | 0% | -- | 0% | 0.05%
Other | 0% | 1.76% | 0% | 0% | 0% | 0% | -- | 0% | 0%
TOTAL | 100% | 100% | 100% | 100% | 100% | 100% | -- | 100% | 100%
Notes: Detailed information on the Transmission Availability Data System outage causes is available at: http://www.nerc.com/docs/pc/tadswg/Appendix%207%2020101202a%20clean.pdf Source: U.S. Energy Information Administration, Form EIA-411, "Coordinated Bulk Power Supply Program Report."