## Table_B2
Table B.2 Major Disturbances and Unusual Occurrences, 2011
Year | Month | Event Date and Time | Restoration Date and Time | Duration | Utility/Power Pool | NERC Region | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected
2011 | 1 | 01/12/2011 6:00 AM | 01/12/2011 2:00 PM | 8 Hours, 0 Minutes | National Grid | NPCC | Massachusetts | Winter Storm | N/A | 80000
2011 | 1 | 01/13/2011 7:21 AM | 01/13/2011 8:13 AM | 0 Hours, 52 Minutes | JEA | FRCC | North Florida | Firm System Load Shed | 150 | 20900
2011 | 1 | 01/26/2011 5:00 PM | 01/31/2011 8:00 AM | 111 Hours, 0 Minutes | Potomac Electric Power Co/ PEPCO Holdings Inc. | RFC | Montgomery and Prince George's County, Maryland and District of Columbia | Winter Storm | N/A | 210000
2011 | 1 | 01/26/2011 6:28 PM | 01/29/2011 5:00 PM | 70 Hours, 32 Minutes | Baltimore Gas and Electric Company | RFC | Maryland | Winter Storm | N/A | 234326
2011 | 1 | 01/26/2011 7:43 PM | 01/27/2011 6:18 PM | 22 Hours, 35 Minutes | Dominion - Virginia Power | SERC | Northern Virginia | Winter Storm | 600 | 150084
2011 | 1 | 01/27/2011 9:30 AM | 01/27/2011 9:30 AM | 0 Hours, 0 Minutes | Delmarva Power & Light Company | RFC | Hockessin, Delaware | Vandalism | 0 | 0
2011 | 1 | 01/27/2011 5:00 PM | 01/30/2011 5:00 AM | 60 Hours, 0 Minutes | AES Greenidge, LLC | NPCC | Central New York | Fuel Supply Deficiency (Coal) | 108 | N/A
2011 | 1 | 01/31/2011 10:00 PM | 02/03/2011 12:00 PM | 62 Hours, 0 Minutes | Duke Energy Midwest | RFC | Southwestern Ohio and Indiana | Ice Storm | 996 | 272880
2011 | 2 | 02/01/2011 3:00 PM | 02/03/2011 12:00 PM | 45 Hours, 0 Minutes | American Electric Power - Ohio | RFC | Indiana, Ohio | Winter Storm | UNK | 158013
2011 | 2 | 02/01/2011 9:00 PM | 02/02/2011 2:00 PM | 17 Hours, 0 Minutes | Exelon Corp/ComEd - Commonwealth Edison | RFC | Northern Illinois | Winter Storm | UNK | 190000
2011 | 2 | 02/02/2011 3:00 AM | 02/04/2011 11:59 PM | 68 Hours, 59 Minutes | Exelon Corporation/PECO | RFC | Philadelphia area, Pennsylvania | Winter Storm | UNK | 213000
2011 | 2 | 02/02/2011 5:43 AM | 02/03/2011 10:00 AM | 28 Hours, 17 Minutes | ERCOT ISO | TRE | Texas | Generation Inadequacy/Load Shed | 4000 | 1069730
2011 | 2 | 02/02/2011 6:22 AM | 02/02/2011 9:57 AM | 3 Hours, 35 Minutes | Salt River Project | WECC | Central Arizona | Generation Inadequacy/Load Shed | 3963 | 69000
2011 | 2 | 02/02/2011 7:24 AM | 02/02/2011 10:23 PM | 14 Hours, 59 Minutes | El Paso Electric Company | WECC | Dona Ana and El Paso Counties, Texas and Hudspeth County, New Mexico | Generation Inadequacy/Load Shed | 280 | 178000
2011 | 2 | 02/02/2011 5:00 PM | 02/03/2011 10:00 PM | 29 Hours, 0 Minutes | Southwestern Public Service | SPP | Texas Panhandle, Southeastern New Mexico | Fuel Supply Deficiency (Natural Gas) | UNK | UNK
2011 | 2 | 02/03/2011 3:00 PM | 02/04/2011 12:00 PM | 21 Hours, 0 Minutes | San Diego Gas and Electric Company | WECC | San Diego area, California | Fuel Supply Deficiency (Natural Gas) | N/A | UNK
2011 | 2 | 02/03/2011 10:04 PM | 02/04/2011 12:32 PM | 14 Hours, 28 Minutes | ERCOT ISO | TRE | Texas | Generation Inadequacy/Load Shed | 400 | 86013
2011 | 2 | 02/09/2011 3:45 AM | 02/09/2011 9:12 AM | 5 Hours, 27 Minutes | CenterPoint Energy | TRE | Western Houston, Texas | Winter Storm | 399 | 60000
2011 | 2 | 02/09/2011 4:30 PM | 02/10/2011 12:33 PM | 20 Hours, 3 Minutes | ERCOT ISO | TRE | Texas | Cold Weather Event | N/A | N/A
2011 | 2 | 02/17/2011 1:25 AM | 02/19/2011 10:13 AM | 56 Hours, 48 Minutes | Pacific Gas and Electric | WECC | Northern and Central California | Major Storm | 91 | 80000
2011 | 2 | 02/19/2011 12:30 PM | 02/20/2011 4:00 AM | 15 Hours, 30 Minutes | Exelon Corporation/PECO | RFC | Philadelphia area, Pennsylvania | Major Storm | UNK | 118000
2011 | 2 | 02/20/2011 4:00 PM | 02/23/2011 4:00 PM | 72 Hours, 0 Minutes | Consumers Energy | RFC | Southern Lower Peninsula, Michigan | Winter Storm | 262 | 160000
2011 | 2 | 02/24/2011 4:51 PM | 02/24/2011 4:54 PM | 0 Hours, 3 Minutes | American Electric Power (CSWS-SPP) | SPP | Arkansas | Electrical System Separation (Islanding) | 4 | UNK
2011 | 2 | 02/25/2011 8:00 AM | 02/28/2011 5:30 PM | 81 Hours, 30 Minutes | Pacific Gas and Electric | WECC | Northern and Central California | Winter Storm | 91 | 80000
2011 | 2 | 02/25/2011 3:20 PM | 02/25/2011 6:00 PM | 2 Hours, 40 Minutes | Dominion - Virginia Power | SERC | Virginia | Severe Weather | UNK | 50000
2011 | 2 | 02/25/2011 3:23 PM | 02/27/2011 6:00 PM | 50 Hours, 37 Minutes | Baltimore Gas & Electric | RFC | Maryland | Severe Weather | UNK | 93000
2011 | 3 | 03/01/2011 8:00 AM | 03/05/2011 9:30 AM | 97 Hours, 30 Minutes | AES Somerset | NPCC | Western New York | Fuel Supply Deficiency (Coal) | 675 | UNK
2011 | 3 | 03/08/2011 8:00 AM | 03/18/2001 9:00 AM | -87,407 Hours, 0 Minutes | AES Somerset | NPCC | Western New York | Fuel Supply Deficiency (Coal) | 676 | UNK
2011 | 3 | 03/11/2011 7:02 AM | 03/11/2011 9:15 AM | 2 Hours, 13 Minutes | Pacific Gas and Electric | WECC | Humboldt and Eureka, California | Generation Inadequacy/Load Shed | 15 | 6800
2011 | 3 | 03/13/2011 2:20 PM | 03/14/2011 3:46 PM | 25 Hours, 26 Minutes | PacifiCorp | WECC | Oregon | Severe Weather | UNK | 9000
2011 | 3 | 03/19/2011 11:56 PM | 03/24/2011 7:10 PM | 115 Hours, 14 Minutes | Pacific Gas and Electric | WECC | Northern and Central California | Major Storm | 91 | 128000
2011 | 3 | 03/20/2011 9:44 AM | 03/21/2011 10:00 AM | 24 Hours, 16 Minutes | Los Angeles Department of Water and Power | WECC | Los Angeles, California | Major Storm | UNK | 79000
2011 | 3 | 03/21/2011 12:35 PM | 03/21/2011 2:45 PM | 2 Hours, 10 Minutes | Southern California Edison Company (SCE) | WECC | Southern California | Major Storm | 150 | 54332
2011 | 3 | 03/23/2011 6:30 PM | 03/24/2011 4:55 AM | 10 Hours, 25 Minutes | American Electric Power - AEP | RFC | Indiana. Kentucky, Michigan, Ohio, Tennessee, Virginia, West Virginia | Major Storm | UNK | 60596
2011 | 3 | 03/27/2011 1:27 PM | 03/27/2011 5:00 PM | 3 Hours, 33 Minutes | Pacific Gas and Electric | WECC | Sonoma and Central Valley, California | Transmission Level Outage | 295 | 165000
2011 | 3 | 03/31/2011 11:30 AM | 03/31/2011 8:30 PM | 9 Hours, 0 Minutes | Tampa Electric Company | FRCC | Greater Tampa Bay, Florida | Severe Weather | 206 | 87000
2011 | 3 | 03/31/2011 2:30 PM | 04/01/2011 11:59 PM | 33 Hours, 29 Minutes | Progress Energy Florida (PEF) | FRCC | Central and Western Florida | Severe Weather | UNK | 50000
2011 | 4 | 04/04/2011 11:47 AM | 04/08/2011 12:01 AM | 84 Hours, 14 Minutes | Tennessee Valley Authority | SERC | Memphis, Tennessee | Severe Weather | 359 | 63000
2011 | 4 | 04/04/2011 1:00 PM | 04/05/2011 12:00 AM | 11 Hours, 0 Minutes | Memphis Light Gas and Water Division | SERC | Shelby County, Tennessee | Severe Weather | 300 | 63000
2011 | 4 | 04/04/2011 2:00 PM | 04/08/2011 12:01 AM | 82 Hours, 1 Minutes | Tennessee Valley Authority | SERC | Davidson Count, Tennessee | Severe Weather | 300 | 73000
2011 | 4 | 04/04/2011 7:00 PM | 04/05/2011 12:00 PM | 17 Hours, 0 Minutes | American Electric Power (AEP) | RFC | Kentucky, West Virginia | Severe Weather | UNK | 52920
2011 | 4 | 04/04/2011 7:00 PM | 04/05/2011 8:00 PM | 25 Hours, 0 Minutes | Entergy Corporation | SERC | Southeast Arkansas, Southeast Louisiana, Western Mississippi, Eastern Texas | Severe Weather | UNK | 74645
2011 | 4 | 04/04/2011 9:00 PM | 04/05/2011 11:30 PM | 26 Hours, 30 Minutes | Southern Company | SERC | Alabama, Florida, Georgia, Mississippi | Severe Weather | 674 | 303434
2011 | 4 | 04/05/2011 2:00 AM | 04/07/2011 11:00 PM | 69 Hours, 0 Minutes | Duke Energy Carolinas | SERC | North Carolina, South Carolina | Severe Weather | 1200 | 256000
2011 | 4 | 04/16/2011 2:16 PM | 04/17/2011 4:30 PM | 26 Hours, 14 Minutes | Progress Energy Carolinas Inc | SERC | Central and Eastern North Carolina | Severe Weather | UNK | 220000
2011 | 4 | 04/19/2011 8:00 PM | 04/19/2011 10:00 PM | 2 Hours, 0 Minutes | Ameren Illinois | SERC | Illinois | Severe Weather | UNK | 80000
2011 | 4 | 04/19/2011 10:44 PM | 04/20/2011 2:00 AM | 3 Hours, 16 Minutes | Memphis Light Gas and Water Division | SERC | Memphis, Tennessee | Severe Weather | 100 | 64000
2011 | 4 | 04/19/2011 11:02 PM | 04/21/2011 5:32 PM | 42 Hours, 30 Minutes | Tennessee Valley Authority | SERC | Memphis, Tennessee | Severe Weather | 300 | 105000
2011 | 4 | 04/19/2011 11:13 PM | 04/20/2011 7:14 PM | 20 Hours, 1 Minutes | Constellation Energy Control and Dispatch | SERC | Osceola, Arkansas | Severe Weather | 22 | UNK
2011 | 4 | 04/20/2011 2:00 AM | 04/21/2011 12:00 PM | 34 Hours, 0 Minutes | Duke Energy Midwest | RFC | Indiana, Kentucky, Ohio | Severe Weather - High Winds | UNK | 165711
2011 | 4 | 04/20/2011 8:07 AM | 04/20/2011 8:14 AM | 0 Hours, 7 Minutes | City of Ruston & Constellation Energy | SERC | Ruston, Louisiana | Equipment Malfunction | 33 | 11000
2011 | 4 | 04/22/2011 9:00 PM | 04/22/2011 11:00 PM | 2 Hours, 0 Minutes | Ameren | SERC | Metro St. Louis area, Missouri | Severe Weather | 0 | 55000
2011 | 4 | 04/25/2011 4:33 PM | 04/25/2011 5:19 PM | 0 Hours, 46 Minutes | Tennessee Valley Authority | SERC | Northeast Tennessee | Equipment Malfunction | 140 | UNK
2011 | 4 | 04/25/2011 5:30 PM | 04/27/2011 6:00 PM | 48 Hours, 30 Minutes | Entergy Corporation | SPP | Arkasas, Louisiana, Mississippi | Severe Weather | UNK | 141700
2011 | 4 | 04/26/2011 5:49 AM | 04/27/2011 9:59 AM | 28 Hours, 10 Minutes | Entergy Corporation | SPP | Southern Louisiana | Severe Weather | 120 | UNK
2011 | 4 | 04/26/2011 9:51 AM | 04/28/2011 9:51 AM | 48 Hours, 0 Minutes | Tennesee Valley Authority | SERC | Alabama, Georgia, Mississippi, Tennessee | Severe Weather | UNK | 55000
2011 | 4 | 04/26/2011 6:14 PM | 04/28/2011 5:00 PM | 46 Hours, 46 Minutes | West Memphis Utilities | SPP | Eastern Arkansas | Severe Weather | 50 | 13000
2011 | 4 | 04/27/2011 8:00 AM | 05/02/2011 4:03 PM | 128 Hours, 3 Minutes | Southern Company | SERC | Alabama, Florida, Georgia, Mississippi | Severe Weather | 1422 | 426640
2011 | 4 | 04/27/2011 10:00 AM | 04/29/2011 4:29 PM | 54 Hours, 29 Minutes | Tennesee Valley Authority | SERC | Alabama, Georgia, Mississippi, Tennessee | Severe Weather | UNK | 612000
2011 | 4 | 04/27/2011 10:00 PM | 04/28/2011 10:00 AM | 12 Hours, 0 Minutes | American Electric Power | SERC | Ohio, Tennessee, Virginia | Severe Weather | 0 | 69000
2011 | 4 | 04/28/2011 5:00 AM | 04/30/2011 6:30 PM | 61 Hours, 30 Minutes | FirstEnergy Service Company | RFC | Cleveland area, Ohio | Severe Weather | UNK | 86000
2011 | 4 | 04/28/2011 4:09 PM | 04/28/2011 4:10 PM | 0 Hours, 1 Minutes | Mesquite Power, LLC | WECC | Phoenix, Arizona | Equipment Malfunction | 960 | UNK
2011 | 5 | 05/02/2011 5:06 PM | 05/02/2011 8:00 PM | 2 Hours, 54 Minutes | Hawaiian Electric Company | N/A | Hawaii | Severe Weather | 220 | 62000
2011 | 5 | 05/10/2011 3:25 AM | 05/11/2011 2:10 PM | 34 Hours, 45 Minutes | Midwest Independent System Operator (MISO) | RFC | Upper Peninsula, Michigan | Generation Inadequacy; Load Shed; Electrical System Separation (Islanding) | 585 | 78213
2011 | 5 | 05/10/2011 10:21 PM | 05/11/2011 2:25 PM | 16 Hours, 4 Minutes | American Electric Power | RFC | Kentucky, West Virginia | Severe Weather | UNK | 58000
2011 | 5 | 05/11/2011 12:15 AM | 05/11/2011 5:20 PM | 17 Hours, 5 Minutes | Duke Energy Carolinas | SERC | Charlotte, North Carolina | Severe Weather | 300 | 71000
2011 | 5 | 05/22/2011 5:09 PM | 05/31/2011 12:01 PM | 210 Hours, 52 Minutes | Empire District Electric | SPP | Joplin, Sarcoxie, and Wentworth, Missouri | Severe Weather | 200 | 20000
2011 | 5 | 05/23/2011 12:30 PM | 05/25/2011 12:30 PM | 48 Hours, 0 Minutes | Ameren | SERC | St. Louis County, Missouri | Severe Weather | UNK | 70000
2011 | 5 | 05/23/2011 4:45 PM | 05/25/2011 11:59 PM | 55 Hours, 14 Minutes | Duke Energy Midwest | RFC | Central, Indiana | Severe Weather | 1024 | 215387
2011 | 5 | 05/24/2011 4:35 PM | 05/25/2011 12:40 PM | 20 Hours, 5 Minutes | Dominion Virginia Power | SERC | Eastern Virginia | Severe Weather | 790 | 175000
2011 | 5 | 05/24/2011 4:45 PM | 05/26/2011 5:00 PM | 48 Hours, 15 Minutes | Oklahoma Gas & Electric | SPP | Central Oklahoma | Severe Weather | UNK | 54000
2011 | 5 | 05/25/2011 10:14 PM | 05/28/2011 11:00 AM | 60 Hours, 46 Minutes | Duke Energy Midwest | RFC | Central Indiana | Severe Weather | 200 | 141000
2011 | 5 | 05/26/2011 1:00 AM | 05/26/2011 6:00 AM | 5 Hours, 0 Minutes | Greenwood Utilities Commission | SERC | Greenwood, Mississippi | Transmission Level Interruption | 30 | 10000
2011 | 5 | 05/26/2011 6:30 PM | 05/28/2011 4:44 AM | 34 Hours, 14 Minutes | Southern Company | SERC | Southern Balancing Area, Georgia | Severe Weather | 729 | 218783
2011 | 5 | 05/26/2011 7:56 PM | 05/27/2011 6:00 PM | 22 Hours, 4 Minutes | PPL Electric Utilities | RFC | Central Pennsylvania | Severe Weather | 150 | 120001
2011 | 5 | 05/29/2011 6:30 PM | 05/31/2011 10:00 PM | 51 Hours, 30 Minutes | Consumers Energy | RFC | Mid and Southern Lower Peninsula, Michigan | Severe Weather | 250 | 113000
2011 | 6 | 06/02/2011 11:45 PM | 06/04/2011 4:00 PM | 40 Hours, 15 Minutes | South Carolina Electric and Gas | SERC | Greater Columbia, South Carolina | Severe Weather | 0 | 50465
2011 | 6 | 06/05/2011 5:30 AM | 06/06/2011 1:30 AM | 20 Hours, 0 Minutes | CenterPoint Energy | TRE | Houston Metro-Area, Texas | Severe Thunderstorms | 473 | 78000
2011 | 6 | 06/05/2011 8:02 PM | 06/05/2011 8:55 PM | 0 Hours, 53 Minutes | Pacific Gas and Electric | WECC | Melones, California | Electrical System Separation (Islanding) | 10 | 5314
2011 | 6 | 06/06/2011 12:13 AM | 06/06/2011 3:15 AM | 3 Hours, 2 Minutes | El Paso Electric Company | SPP | El Paso County, Texas; Dona Ana County, New Mexico | Load Shed/ Automatic undervoltage relay action | 450 | 162000
2011 | 6 | 06/06/2011 3:00 PM | 06/08/2011 3:00 PM | 48 Hours, 0 Minutes | West Memphis Utilities | SPP | Eastern, Arkansas | Public Appeal to Reduce Electricity Usage | UNK | 13000
2011 | 6 | 06/07/2011 2:00 PM | 06/08/2011 6:00 AM | 16 Hours, 0 Minutes | American Electric Power | RFC | Ohio | Severe Weather | UNK | 52747
2011 | 6 | 06/09/2011 4:30 AM | 06/09/2011 12:00 PM | 7 Hours, 30 Minutes | Exelon Corporation/ComEd | RFC | Illinois | Severe Thunderstorms | UNK | 169000
2011 | 6 | 06/09/2011 5:51 PM | 06/10/2011 12:00 PM | 18 Hours, 9 Minutes | ISO New England/Northeast Utilities | NPCC | Western, Massachusetts; Connecticut | Severe Thunderstorms | 0 | 100000
2011 | 6 | 06/12/2011 7:00 PM | 06/12/2011 8:30 PM | 1 Hours, 30 Minutes | Dominion Virginia Power | RFC | Virginia | Severe Thunderstorms | 250 | 56000
2011 | 6 | 06/15/2011 7:15 PM | 06/16/2011 6:00 AM | 10 Hours, 45 Minutes | Southern Company | SERC | Georgia | Severe Thunderstorms | 563 | 169000
2011 | 6 | 06/15/2011 7:17 PM | 06/16/2011 1:45 AM | 6 Hours, 28 Minutes | Duke Energy | SERC | Piedmont, North Carolina | Severe Thunderstorms | 300 | 70135
2011 | 6 | 06/18/2011 3:30 PM | 06/19/2011 3:42 PM | 24 Hours, 12 Minutes | Southern Company | SERC | Northern, Georgia | Severe Thunderstorms | 312 | 93828
2011 | 6 | 06/18/2011 4:45 PM | 06/20/2011 11:59 PM | 55 Hours, 14 Minutes | West Memphis Utilities | SPP | Eastern, Arkansas | Public Appeal to Reduce Electricity Usage | UNK | UNK
2011 | 6 | 06/18/2011 5:00 PM | 06/18/2011 9:33 PM | 4 Hours, 33 Minutes | Duke Energy Carolinas | SERC | North Carolina; South Carolina | Severe Thunderstorms | 300 | 70000
2011 | 6 | 06/21/2011 6:30 PM | 06/22/2011 7:00 AM | 12 Hours, 30 Minutes | American Electric Power (AEP) | RFC | AEP Region | Severe Weather | UNK | 56000
2011 | 6 | 06/21/2011 9:45 PM | 06/23/2011 2:00 AM | 28 Hours, 15 Minutes | Exelon Corporation/ComEd | RFC | Illinois | Severe Thunderstorms | UNK | 300000
2011 | 6 | 06/22/2011 9:46 AM | 06/22/2011 9:46 AM | 0 Hours, 0 Minutes | Tennessee Valley Authority (TVA) | SERC | Knoxville, Tennessee | Severe Weather | UNK | 106300
2011 | 6 | 06/22/2011 7:00 PM | 06/23/2011 1:00 AM | 6 Hours, 0 Minutes | Southern Company | SERC | Alabama; Georgia | Severe Thunderstorms | 316 | 75101
2011 | 6 | 06/24/2011 6:30 PM | 06/25/2011 1:30 AM | 7 Hours, 0 Minutes | Southern Company | SERC | North/North Central Alabama; Georgia | Severe Thunderstorms | 340 | 102275
2011 | 6 | 06/26/2011 4:46 PM | 06/27/2011 7:59 AM | 15 Hours, 13 Minutes | Sunflower Electric Power Corporation | SPP | Southwest Kansas | Public Appeal to Reduce Electricity Usage | UNK | UNK
2011 | 6 | 06/26/2011 6:00 PM | 06/27/2011 1:00 PM | 19 Hours, 0 Minutes | Southern Company | SERC | Alabama; Georgia | Severe Thunderstorms | 300 | 90160
2011 | 6 | 06/27/2011 12:00 AM | 06/29/2011 1:00 AM | 49 Hours, 0 Minutes | AMEREN | SERC | Illinois; Missouri | Severe Thunderstorms | UNK | 80000
2011 | 6 | 06/27/2011 3:00 PM | 06/27/2011 7:00 PM | 4 Hours, 0 Minutes | ERCOT ISO | TRE | Texas | Public Appeal to Reduce Electricity Usage | 0 | 0
2011 | 6 | 06/29/2011 11:30 AM | 06/29/2011 6:04 PM | 6 Hours, 34 Minutes | Southwestern Public Service | SPP | Panhandle and Muleshoe, Texas | Public Appeal to Reduce Electricity Usage | 0 | 0
2011 | 6 | 06/30/2011 2:11 PM | 06/30/2011 11:25 PM | 9 Hours, 14 Minutes | Salt River Project | WECC | Phoenix, Arizona | Major System Interruption/Load Shed | 5299 | 160000
2011 | 6 | 06/30/2011 10:30 PM | 07/01/2011 5:00 PM | 18 Hours, 30 Minutes | Exelon Corporation/ComEd | RFC | Illinois | Severe Weather | UNK | 121000
2011 | 7 | 07/01/2011 5:00 PM | 07/03/2011 8:00 PM | 51 Hours, 0 Minutes | Xcel Energy Northern States Power Company | MRO | Southwest and South Central Minnesota | Severe Weather | UNK | 70000
2011 | 7 | 07/02/2011 8:15 PM | 07/06/2011 10:00 PM | 97 Hours, 45 Minutes | Detroit Edison, Subsidiary of DTE Energy | RFC | South East, Lower Peninsula, Michigan | Severe Weather | UNK | 182000
2011 | 7 | 07/04/2011 6:00 PM | 07/04/2011 9:00 PM | 3 Hours, 0 Minutes | Dominion Virginia Power | SERC | Virginia | Severe Weather | 150 | 51580
2011 | 7 | 07/11/2011 9:00 AM | 07/11/2011 9:00 AM | 0 Hours, 0 Minutes | Exelon Corporation/ComEd | RFC | Illinois | Severe Weather | UNK | 500000
2011 | 7 | 07/11/2011 9:00 AM | 07/11/2011 10:25 AM | 1 Hours, 25 Minutes | Detroit Edison, Subsidiary of DTE Energy | RFC | Michigan | Severe Weather | 254 | 103000
2011 | 7 | 07/11/2011 11:15 AM | 07/12/2011 8:15 AM | 21 Hours, 0 Minutes | Consumers Energy | RFC | Western and Southern Lower Peninsula Michigan | Severe Weather | UNK | 85000
2011 | 7 | 07/11/2011 2:27 PM | 07/12/2011 3:50 PM | 25 Hours, 23 Minutes | American Electric Power (AEP) | RFC | Indiana, Michigan, Ohio | Severe Weather | UNK | 120000
2011 | 7 | 07/13/2011 5:19 PM | 07/13/2011 10:03 PM | 4 Hours, 44 Minutes | Public Service Company of Colorado | WECC | Pueblo, Colorado | Load Shed | 580 | N/A
2011 | 7 | 07/14/2011 11:00 AM | 07/14/2011 7:00 PM | 8 Hours, 0 Minutes | ERCOT ISO | TRE | Texas | Public Appeal to Reduce Electricity Usage | 0 | 0
2011 | 7 | 07/18/2011 5:00 PM | 07/24/2011 1:30 PM | 140 Hours, 30 Minutes | Detroit Edison, Subsidiary of DTE Energy | RFC | Southeast Michigan | Severe Weather | N/A | 197166
2011 | 7 | 07/21/2011 12:32 PM | 07/22/2011 6:30 AM | 17 Hours, 58 Minutes | Consumers Energy | RFC | Lower Peninsula, Michigan | Public Appeal to Reduce Electricity Usage | 8881 | N/A
2011 | 7 | 07/21/2011 1:00 PM | 07/21/2011 3:00 PM | 2 Hours, 0 Minutes | City Water Light and Power | SERC | Springfield, Illinois | Public Appeal to Reduce Electricity Usage | N/A | N/A
2011 | 7 | 07/22/2011 11:00 AM | 07/22/2011 6:00 PM | 7 Hours, 0 Minutes | Niagara Mohawk Power Corporation (dba National Grid) | NPCC | Upstate, New York | Public Appeal to Reduce Electricity Usage | N/A | N/A
2011 | 7 | 07/22/2011 11:34 AM | 07/22/2011 5:26 PM | 5 Hours, 52 Minutes | PJM Interconnection | RFC | Ohio | Load Shed | 206 | 23000
2011 | 7 | 07/23/2011 2:30 AM | 07/24/2011 9:00 AM | 30 Hours, 30 Minutes | Exelon Corporation/ComEd | RFC | Illinois | Severe Weather | UNK | 169000
2011 | 7 | 07/28/2011 12:14 AM | 07/29/2011 12:00 PM | 35 Hours, 46 Minutes | Exelon Corporation/ComEd | RFC | Entire ComEd Territory, Indiana | Severe Weather | UNK | 201000
2011 | 7 | 07/28/2011 7:26 AM | 07/29/2011 7:26 AM | 24 Hours, 0 Minutes | Owensboro Municipal Utilities | SERC | Daviess County, Kentucky | Fuel Supply Deficiency (Coal) | N/A | N/A
2011 | 7 | 07/29/2011 8:45 PM | 08/01/2011 4:24 AM | 55 Hours, 39 Minutes | FirstEnergy Corp: Jersey Central Power & Light | RFC | Central New Jersey | Severe Weather | N/A | 67900
2011 | 8 | 08/01/2011 3:00 PM | 08/05/2011 7:00 PM | 100 Hours, 0 Minutes | ERCOT ISO | TRE | Texas | Public Appeal to Reduce Electricity Usage | 0 | 0
2011 | 8 | 08/02/2011 10:15 AM | 08/03/2011 9:16 AM | 23 Hours, 1 Minutes | Oklahoma Gas & Electric | SPP | Oklahoma | Public Appeal to Reduce Electricity Usage | N/A | N/A
2011 | 8 | 08/02/2011 9:30 PM | 08/03/2011 7:00 PM | 21 Hours, 30 Minutes | Exelon Corporation/ComEd | RFC | Northeast, Illinois | Severe Weather | UNK | 71500
2011 | 8 | 08/03/2011 10:00 AM | 08/19/2011 10:00 AM | 384 Hours, 0 Minutes | AES Somerset LLC | NPCC | Western New York | Fuel Supply Deficiency (Coal) | 675 | UNK
2011 | 8 | 08/03/2011 4:29 PM | 08/03/2011 11:40 PM | 7 Hours, 11 Minutes | Grand River Dam Authority | SPP | Northeast Oklahoma | Public Appeal to Reduce Electricity Usage | 300 | N/A
2011 | 8 | 08/03/2011 4:30 PM | 08/03/2011 9:00 PM | 4 Hours, 30 Minutes | Entergy | SPP | Central Arkansas | Public Appeal to Reduce Electricity Usage | 0 | 0
2011 | 8 | 08/04/2011 10:30 AM | 08/04/2011 4:00 PM | 5 Hours, 30 Minutes | American Electric Power (AEP) | SPP | Arkansas, Oklahoma, Texas | Public Appeal to Reduce Electricity Usage | N/A | N/A
2011 | 8 | 08/08/2011 7:36 PM | 08/09/2011 12:00 PM | 16 Hours, 24 Minutes | Oklahoma Municipal Power Authority | SPP | Oklahoma | Electrical System Separation (Islanding) | 92 | 14500
2011 | 8 | 08/08/2011 8:58 PM | 08/10/2011 4:30 PM | 43 Hours, 32 Minutes | Oklahoma Gas & Electric | SPP | Northern and Central Oklahoma | Severe Weather | N/A | 54000
2011 | 8 | 08/13/2011 4:41 PM | 08/14/2011 7:00 PM | 26 Hours, 19 Minutes | LG&E and KU Energy LLC | SERC | Kentucky | Severe Weather | UNK | 181700
2011 | 8 | 08/20/2011 5:42 PM | 08/23/2011 8:00 PM | 74 Hours, 18 Minutes | Detroit Edison, Subsidiary of DTE Energy | RFC | Southeastern Michigan | Severe Weather | 254 | 65000
2011 | 8 | 08/21/2011 10:45 PM | 08/23/2011 10:45 PM | 48 Hours, 0 Minutes | Puerto Rico Electric Power Authority (PREPA) | N/A | Puerto Rico | Severe Weather | 2200 | 931000
2011 | 8 | 08/23/2011 10:30 AM | 08/23/2011 4:54 PM | 6 Hours, 24 Minutes | Southwestern Public Service Company | SPP | Southeastern New Mexico, Texas Panhandle | Public Appeal to Reduce Electricity Usage | 0 | 0
2011 | 8 | 08/23/2011 1:51 PM | 08/23/2011 1:51 PM | 0 Hours, 0 Minutes | Dominion Virginia Power | RFC | Virginia | Earthquake | 0 | 0
2011 | 8 | 08/23/2011 3:43 PM | 08/23/2011 7:00 PM | 3 Hours, 17 Minutes | ERCOT ISO | TRE | Texas | Public Appeal to Reduce Electricity Usage | 0 | 0
2011 | 8 | 08/24/2011 7:45 AM | 08/25/2011 6:00 AM | 22 Hours, 15 Minutes | CenterPoint Energy | TRE | Houston area, Texas | Severe Weather | 485 | 79000
2011 | 8 | 08/24/2011 1:20 PM | 08/29/2011 7:00 PM | 125 Hours, 40 Minutes | ERCOT ISO | TRE | Texas | Public Appeal to Reduce Electricity Usage | 0 | 0
2011 | 8 | 08/24/2011 2:51 PM | 08/24/2011 10:00 PM | 7 Hours, 9 Minutes | American Electric Power (AEP) | SPP | Arkansas, Louisiana, Texas | Severe Weather | N/A | 53064
2011 | 8 | 08/25/2011 12:30 AM | 08/28/2011 8:00 PM | 91 Hours, 30 Minutes | FirstEnergy Corp: Cleveland Electric Illuminating Company | RFC | Cleveland area, Ohio | Severe Weather | N/A | 107833
2011 | 8 | 08/26/2011 12:30 AM | 08/28/2011 12:30 AM | 48 Hours, 0 Minutes | FirstEnergy Corp: Metropolitan Edison Company | RFC | Pennsylvania | Severe Weather | N/A | 200717
2011 | 8 | 08/27/2011 2:00 AM | 08/27/2011 5:15 AM | 3 Hours, 15 Minutes | Town of Stantonsburg JRO | SERC | Wilson County North Carolina | Distribution System Interruption | 2 | 1200
2011 | 8 | 08/27/2011 2:57 AM | 08/29/2011 11:30 PM | 68 Hours, 33 Minutes | Progress Energy Carolinas | SERC | Eastern North Carolina | Severe Weather | UNK | 285465
2011 | 8 | 08/27/2011 10:33 AM | 08/29/2011 2:00 PM | 51 Hours, 27 Minutes | Dominion Virginia Power | SERC | North Carolina; Virginia | Severe Weather | UNK | 1000000
2011 | 8 | 08/27/2011 1:00 PM | 08/29/2011 1:00 PM | 48 Hours, 0 Minutes | Delmarva Power & Light Company | RFC | Delaware; Maryland | Severe Weather | N/A | 165000
2011 | 8 | 08/27/2011 7:00 PM | 08/29/2011 1:31 PM | 42 Hours, 31 Minutes | North Carolina Eastern Municipal Power Agency | SERC | Eastern North Carolina | Severe Weather | 200 | 136000
2011 | 8 | 08/27/2011 8:30 PM | 09/04/2011 11:30 PM | 195 Hours, 0 Minutes | Baltimore Gas and Electric Company | RFC | Maryland | Severe Weather | 1114 | 760113
2011 | 8 | 08/27/2011 10:00 PM | 08/29/2011 4:00 PM | 42 Hours, 0 Minutes | Atlantic City Electric Company | RFC | Southern New Jersey | Severe Weather | 320 | 140000
2011 | 8 | 08/27/2011 10:00 PM | 08/29/2011 10:00 PM | 48 Hours, 0 Minutes | Exelon Corporation / PECO | RFC | Pennsylvania | Severe Weather | N/A | 264000
2011 | 8 | 08/27/2011 11:00 PM | 08/29/2011 8:00 AM | 33 Hours, 0 Minutes | Southern Maryland Electric Cooperative (SMECO) | RFC | Maryland | Severe Weather | UNK | 108000
2011 | 8 | 08/27/2011 11:05 PM | 08/29/2077 3:30 PM | 578,608 Hours, 25 Minutes | Pepco | RFC | District of Columbia; Maryland | Severe Weather | N/A | 220000
2011 | 8 | 08/28/2011 12:01 AM | 08/30/2011 12:01 AM | 48 Hours, 0 Minutes | Central Hudson Gas & Electric | NPCC | Mid-Hudson, New York | Severe Weather | N/A | 180000
2011 | 8 | 08/28/2011 12:23 AM | 08/30/2011 12:23 AM | 48 Hours, 0 Minutes | Public Service Electric and Gas Company | RFC | New Jersey | Severe Weather | 500 | 665000
2011 | 8 | 08/28/2011 12:30 AM | 08/30/2011 12:30 AM | 48 Hours, 0 Minutes | FirstEnergy Corp: Jersey Central Power & Light | RFC | Northern and Central New Jersey | Severe Weather | N/A | 650000
2011 | 8 | 08/28/2011 2:58 AM | 08/30/2011 2:58 AM | 48 Hours, 0 Minutes | PPL Electric Utilities | RFC | Eastern and Northeastern Pennsylvania | Severe Weather | 110 | 284000
2011 | 8 | 08/28/2011 5:00 AM | 08/30/2011 5:00 AM | 48 Hours, 0 Minutes | Long Island Power Authority | NPCC | Long Island, New York | Severe Weather | UNK | 152261
2011 | 8 | 08/28/2011 5:01 AM | 09/03/2011 5:01 AM | 144 Hours, 0 Minutes | Consolidated Edison Company of NY, Inc. | NPCC | Borough's and Westshester County New York | Severe Weather | N/A | 50000
2011 | 8 | 08/28/2011 7:00 AM | 09/03/2011 12:01 AM | 137 Hours, 1 Minutes | New York State Electric & Gas Corporation | NPCC | New York | Severe Weather | UNK | 99700
2011 | 8 | 08/28/2011 7:40 AM | 08/29/2011 7:40 AM | 24 Hours, 0 Minutes | The United illuminating Company | NPCC | Southwest Connecticut | Severe Weather | N/A | 158000
2011 | 8 | 08/28/2011 9:42 AM | 08/30/2011 12:01 AM | 38 Hours, 19 Minutes | Niagara Mohawk Power Corporation | NPCC | Eastern New York | Severe Weather | N/A | 100000
2011 | 8 | 08/28/2011 12:10 PM | 08/28/2011 12:11 PM | 0 Hours, 1 Minutes | ISO New England | NPCC | Eastern Massachusetts | Severe Weather | N/A | 50000
2011 | 8 | 08/28/2011 12:30 PM | 08/28/2011 12:31 PM | 0 Hours, 1 Minutes | Orange and Rockland Utilities, Inc. | NPCC | New York | Severe Weather | N/A | 116000
2011 | 9 | 09/03/2011 2:00 PM | 09/08/2011 6:00 PM | 124 Hours, 0 Minutes | Detroit Edison, Subsidiary of DTE Energy | RFC | Southeast Lower Peninsula, Michigan | Severe Weather | UNK | 105000
2011 | 9 | 09/05/2011 4:30 PM | 09/07/2011 3:45 PM | 47 Hours, 15 Minutes | Southern Company | SERC | Alabama; Georgia | Severe Weather | 177 | 53295
2011 | 9 | 09/08/2011 3:28 PM | 09/10/2011 3:30 PM | 48 Hours, 2 Minutes | WECC Reliability Coordinator | WECC | Arizona; California | Transmission/Distribution Interruption; Load Shed; Generation Inadequacy | 7000 | 2000000
2011 | 9 | 09/21/2011 2:37 PM | 09/21/2011 3:47 PM | 1 Hours, 10 Minutes | Puerto Rico Electric Power Authority (PREPA) | N/A | Puerto Rico | Generation Inadequacy; Load Shed | 600 | 319616
2011 | 9 | 09/29/2011 5:00 AM | 09/30/2011 6:00 AM | 25 Hours, 0 Minutes | CenterPoint Energy | TRE | Houston metro area, Texas | Severe Weather | N/A | 65000
2011 | 10 | 10/26/2011 5:00 AM | 10/27/2011 3:00 PM | 34 Hours, 0 Minutes | Public Service Company of Colorado | WECC | Denver; Ft. Collins, Colorado | Severe Weather | UNK | 204000
2011 | 10 | 10/29/2011 8:59 AM | 11/07/2011 3:00 PM | 222 Hours, 1 Minutes | Potomac Edison | RFC | Pennsylvania | Severe Weather | UNK | 50000
2011 | 10 | 10/29/2011 8:59 AM | 11/07/2011 7:58 PM | 226 Hours, 59 Minutes | Metropolitan Edison Company | RFC | Pennsylvania | Severe Weather | UNK | 312359
2011 | 10 | 10/29/2011 9:59 AM | 11/07/2011 1:00 PM | 219 Hours, 1 Minutes | Jersey Central Power & Light Company | RFC | Northwest and Central New Jersey | Severe Weather | UNK | 379000
2011 | 10 | 10/29/2011 11:18 AM | 11/04/2011 12:00 AM | 132 Hours, 42 Minutes | New York State Elec & Gas Corp | NPCC | Southeast New York | Severe Weather | UNK | 161151
2011 | 10 | 10/29/2011 12:57 PM | 11/03/2011 11:00 PM | 130 Hours, 3 Minutes | PPL Electric Utilities | RFC | Harrisburg, Lehigh Valley, Lancaster Region Pennsylvania | Severe Weather | UNK | 146721
2011 | 10 | 10/29/2011 2:00 PM | 10/31/2011 2:00 PM | 48 Hours, 0 Minutes | Exelon Corporation/PECO | RFC | Southeast Pennsylvania | Severe Weather | UNK | 109335
2011 | 10 | 10/29/2011 2:30 PM | 11/06/2011 12:00 PM | 189 Hours, 30 Minutes | Public Service Electric and Gas Company | RFC | New Jersey | Severe Weather | 125 | 197000
2011 | 10 | 10/29/2011 3:00 PM | 11/02/2011 8:15 AM | 89 Hours, 15 Minutes | Central Hudson Gas & Electric Corp. | NPCC | Mid-Hudson Valley Region, New York | Severe Weather | N/A | 145000
2011 | 10 | 10/29/2011 4:14 PM | 11/07/2011 4:00 PM | 215 Hours, 46 Minutes | ISO New England | NPCC | Connecticut; Maine; Massachusetts; New Hampshire; Rhode Island | Severe Weather | UNK | 1418100
2011 | 10 | 10/29/2011 4:16 PM | 11/02/2011 9:30 PM | 101 Hours, 14 Minutes | Consolidated Edison Company of NY, Inc | NPCC | New York City area | Severe Weather | UNK | 50000
2011 | 10 | 10/29/2011 8:00 PM | 10/31/2011 8:00 PM | 48 Hours, 0 Minutes | Orange and Rockland Utilities, Inc | NPCC, RFC | New Jersey; New York | Severe Weather | N/A | 74000
2011 | 11 | 11/30/2011 4:56 PM | 12/02/2011 10:00 AM | 41 Hours, 4 Minutes | Los Angeles Department of Water and Power | WECC | City of Los Angeles, California | Severe Weather | UNK | 150000
2011 | 12 | 12/01/2011 12:45 AM | 12/07/2011 9:00 PM | 164 Hours, 15 Minutes | Southern California Edison (SCE) | WECC | Southern California | Severe Weather | UNK | 91690
2011 | 12 | 12/01/2011 3:29 AM | 12/02/2011 1:05 PM | 33 Hours, 36 Minutes | Pacific Gas and Electric | WECC | Northern California | Severe Weather | 300 | 100000
2011 | 12 | 12/01/2011 10:00 AM | 12/02/2011 1:11 PM | 27 Hours, 11 Minutes | PacifiCorp | WECC | Wasatch Front Area Utah | Severe Weather | UNK | 60000
2011 | 12 | 12/06/2011 8:00 AM | 12/06/2011 8:00 PM | 12 Hours, 0 Minutes | Montana Dakota Utilities | MRO | Bismarck-Mandan, North Dakota | Public Appeal to Reduce Electricity Usage | 155 | 34500
2011 | 12 | 12/07/2011 7:29 PM | 12/07/2011 10:57 PM | 3 Hours, 28 Minutes | Dominion Virginia Power | SERC | Central Virginia | Severe Weather | 240 | 60000
Note: Customers affected are estimates and are preliminary.
Source: Form OE-417, 'Electric Emergency Incident and Disturbance Report.'