## Table_B_2
Table B.2 Major Disturbances and Unusual Occurrences, 2013
Year | Month | Event Date and Time | Restoration Date and Time | Duration | Utility/Power Pool | NERC Region | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected
2013 | 1 | 01/17/2013 6:07 PM | 01/20/2013 7:30 PM | 73 Hours, 23 Minutes | American Electric Power (AEP) | RFC | Southwest Virginia, Southern West Virginia | Severe Weather - Winter Storm | Unknown | 127000
2013 | 1 | 01/17/2013 7:02 PM | 01/19/2013 6:00 PM | 46 Hours, 58 Minutes | Tennessee Valley Authority | SERC | Northeast Tennessee | Severe Weather - Winter Storm | Unknown | 80000
2013 | 1 | 01/17/2013 8:35 PM | 01/17/2013 9:20 PM | 0 Hours, 45 Minutes | North Carolina Eastern M P A | SERC | Elizabeth City, North Carolina | Distribution Interruption | 40 | 12000
2013 | 1 | 01/20/2013 3:30 AM | 01/23/2013 6:15 AM | 74 Hours, 45 Minutes | Detroit Edison Co | RFC | Southeastern Michigan | Severe Weather - Wind Storm | Unknown | 146500
2013 | 1 | 01/31/2013 3:05 AM | 01/31/2013 4:48 AM | 1 Hours, 43 Minutes | Dominion Virginia Power | SERC | Central and Eastern Virginia | Severe Weather - Wind Storm | 188 | 119000
2013 | 1 | 01/31/2013 6:30 AM | 01/31/2013 10:00 AM | 3 Hours, 30 Minutes | ISO New England | NPCC | Connecticut | Severe Weather - Wind Storm | 75 | 75000
2013 | 2 | 02/08/2013 11:38 AM | 02/08/2013 2:17 PM | 2 Hours, 39 Minutes | Potomac Electric Power Company | RFC | District of Columbia; Prince George's County Maryland | Equipment Trip & Failure | 140 | 52000
2013 | 2 | 02/08/2013 8:00 PM | 02/11/2013 8:30 PM | 72 Hours, 30 Minutes | ISO New England/National Grid | NPCC | Central and eastern Massachusetts; Rhode Island | Severe Weather - Winter Storm Nemo | N/A | 50000
2013 | 2 | 02/08/2013 8:55 PM | 02/12/2013 4:00 AM | 79 Hours, 5 Minutes | ISO New England/NSTAR | NPCC | Boston area and Southeast Massachusetts | Severe Weather - Winter Storm Nemo | Unknown | 50000
2013 | 2 | 02/10/2013 7:46 PM | 02/10/2013 8:15 PM | 0 Hours, 29 Minutes | Puerto Rico Electric Power Authority | N/A | Puerto Rico | Generator Trip; Voltage Reduction | 350 | Unknown
2013 | 2 | 02/13/2013 5:39 PM | 02/15/2013 5:50 PM | 48 Hours, 11 Minutes | Footprint Power Salem Harbor Operations LLC | NPCC | Eastern Massachusetts | Fuel Supply Emergency - Petroleum | 1 | 1
2013 | 2 | 02/19/2013 4:01 PM | 02/20/2013 12:55 PM | 20 Hours, 54 Minutes | Pacific Gas & Electric Co. | WECC | Stockton, California | Electrical System Separation (Islanding) | 13850 | 6810
2013 | 2 | 02/26/2013 1:00 PM | 03/01/2013 10:00 AM | 69 Hours, 0 Minutes | Associated Electric Coop, Inc | SERC | Northern Missouri | Severe Weather - Winter Storm Nemo | Unknown | 56444
2013 | 3 | 03/03/2013 6:39 AM | 03/03/2013 10:29 AM | 3 Hours, 50 Minutes | Pacific Gas & Electric Co | WECC | Merced County, California | Transmission System Interruption | 300 | 58850
2013 | 3 | 03/04/2013 9:49 AM | 03/04/2013 10:00 PM | 12 Hours, 11 Minutes | Puerto Rico Electric Power Authority | N/A | Metropolitan area Puerto Rico | Equipment Failure; Transmission System Interruption | Unknown | Unknown
2013 | 3 | 03/06/2013 8:22 AM | 03/07/2013 10:27 AM | 26 Hours, 5 Minutes | Dominion Virginia Power | SERC | Northwest Virginia | Severe Weather - Winter Storm | 400 | 233000
2013 | 3 | 03/18/2013 5:21 AM | 03/18/2013 5:41 AM | 0 Hours, 20 Minutes | Puerto Rico Electric Power Authority | N/A | Systemwide Puerto Rico | Generator Trip; Load Shed | 350 | 262937
2013 | 3 | 03/18/2013 7:30 PM | 03/20/2013 2:30 PM | 43 Hours, 0 Minutes | Southern Company | SERC | North/Central Alabama; Georgia | Severe Weather - Thunderstorms | 800 | 240000
2013 | 4 | 04/18/2013 3:00 PM | 04/21/2013 3:30 AM | 60 Hours, 30 Minutes | Detroit Edison Co | RFC | Southeast Michigan, Michigan | Severe Weather - Storms and Wind | Unknown | 99000
2013 | 4 | 04/23/2013 12:49 AM | 04/23/2013 4:04 AM | 3 Hours, 15 Minutes | Pacific Gas & Electric Co | WECC | South of Humboldt California | Electrical System Separation (Islanding) | 80 | 1
2013 | 5 | 05/01/2013 9:22 AM | 05/01/2013 9:24 AM | 0 Hours, 2 Minutes | Xcel Energy/Public Service Company of Colorado | WECC | Northeast Colorado | Electrical System Separation (Islanding) | 123 | 35230
2013 | 5 | 05/02/2013 6:52 AM | 05/02/2013 10:07 AM | 3 Hours, 15 Minutes | WECC | WECC | Unknown | Electrical System Separation (Islanding) | Unknown | Unknown
2013 | 5 | 05/09/2013 1:21 PM | 05/09/2013 4:21 PM | 3 Hours, 0 Minutes | WECC | WECC | Alberta, Canada; Washington State | Electrical System Separation (Islanding) | Unknown | Unknown
2013 | 5 | 05/13/2013 12:52 PM | 12/01/2013 12:00 AM | 4,835 Hours, 8 Minutes | California Department of Water Resources | WECC | Central California | Fuel Supply Emergency - Hydro | 176 | Unknown
2013 | 5 | 05/14/2013 12:01 AM | 05/14/2013 1:59 PM | 13 Hours, 58 Minutes | PacifiCorp | WECC | Portland, Oregon | Vandalism/Theft | N/A | N/A
2013 | 5 | 05/20/2013 3:00 PM | 05/22/2013 5:00 PM | 50 Hours, 0 Minutes | Oklahoma Gas & Electric Co | SPP | Moore, Oklahoma | Severe Weather - Tornados | Unknown | 41306
2013 | 5 | 05/20/2013 5:22 PM | 05/20/2013 9:09 PM | 3 Hours, 47 Minutes | Entergy Transmission - SOC | SERC | Gonzales Area Louisiana | Generator Trip; Load Shed 100+ MW | 103 | 21800
2013 | 5 | 05/22/2013 10:51 AM | 05/22/2013 10:57 AM | 0 Hours, 6 Minutes | Puerto Rico Electric Power Authority | N/A | System wide Puerto Rico | System Wide Voltage Reduction | 280 | 197287
2013 | 5 | 05/29/2013 8:58 PM | 05/31/2013 2:53 PM | 41 Hours, 55 Minutes | Niagara Mohawk Power Corp. | NPCC | Central and Eastern New York | Severe Weather - Thunderstorms | Unknown | 61795
2013 | 5 | 05/31/2013 1:00 AM | 05/31/2013 1:30 AM | 0 Hours, 30 Minutes | Southwest Power Pool, Inc. | SPP | Maumelle, Arkansas | Severe Weather - Lightning | N/A | N/A
2013 | 5 | 05/31/2013 6:00 PM | 06/04/2013 10:30 AM | 88 Hours, 30 Minutes | Oklahoma Gas & Electric Co | SPP | El Reno, S. Oklahoma City, Oklahoma | Severe Weather - Tornados | Unknown | 127000
2013 | 5 | 05/31/2013 7:07 PM | 06/01/2013 2:15 PM | 19 Hours, 8 Minutes | Coffeyville Municipal Light and Power | MRO | Southeast Kansas, Northeast Oklahoma | Transmission System Interruption | 102 | 6300
2013 | 5 | 05/31/2013 7:30 PM | 06/01/2013 8:00 PM | 24 Hours, 30 Minutes | Ameren Missouri | SERC | St. Louis Metro Area Missouri | Severe Weather - Thunderstorms | Unknown | 100000
2013 | 6 | 06/03/2013 12:50 PM | 06/03/2013 1:36 PM | 0 Hours, 46 Minutes | WECC RC Vancouver | WECC | Alberta, Canada | Electrical System Separation (Islanding) | Unknown | Unknown
2013 | 6 | 06/13/2013 1:17 PM | 06/14/2013 5:35 PM | 28 Hours, 18 Minutes | Duke Energy Carolinas | SERC | Western Piedmont North Carolina | Severe Weather - Thunderstorms | 1000 | 175000
2013 | 6 | 06/13/2013 3:20 PM | 06/14/2013 9:10 PM | 29 Hours, 50 Minutes | American Electric Power | RFC; SERC | Ohio; Virginia; West Virginia | Severe Weather - Thunderstorms | Unknown | 90247
2013 | 6 | 06/13/2013 3:30 PM | 06/13/2013 4:00 PM | 0 Hours, 30 Minutes | Potomac Electric Power Company | RFC | District of Columbia; Maryland | Loss of 300+ MW Load; Severe Weather - Thunderstorms | 700 | 40000
2013 | 6 | 06/13/2013 4:08 PM | 06/14/2013 5:16 PM | 25 Hours, 8 Minutes | Dominion Virginia Power | SERC | Richmond Metro area, Virginia | Severe Weather - Thunderstorms | 900 | 283000
2013 | 6 | 06/13/2013 5:45 PM | 06/14/2013 6:30 PM | 24 Hours, 45 Minutes | Duke Energy Progress | SERC | Central and Eastern North Carolina | Severe Weather - Thunderstorms | Unknown | 53000
2013 | 6 | 06/13/2013 8:47 PM | 06/14/2013 10:47 PM | 26 Hours, 0 Minutes | Southern Company | SERC | Southern Company Territory | Severe Weather - Thunderstorms | 550 | 165798
2013 | 6 | 06/17/2013 4:17 PM | 06/17/2013 6:49 PM | 2 Hours, 32 Minutes | Tampa Electric Co | FRCC | Hillsborough County Florida | Load Shed of 100+ MW Under Emergency Operational Policy | 180 | 37
2013 | 6 | 06/18/2013 3:51 PM | 06/18/2013 4:23 PM | 0 Hours, 32 Minutes | Western Area Power Administration | WECC | Wyoming | Electrical System Separation (Islanding) | 6 | Unknown
2013 | 6 | 06/19/2013 7:57 PM | 06/19/2013 8:09 PM | 0 Hours, 12 Minutes | Western Electricity Coordinating Council | WECC | Alberta, Canada | Electrical System Separation (Islanding) | Unknown | Unknown
2013 | 6 | 06/21/2013 3:00 AM | 06/26/2013 12:00 PM | 129 Hours, 0 Minutes | Xcel Energy | MRO | Minnesota | Severe Weather - Hailstorm | Unknown | 193000
2013 | 6 | 06/21/2013 5:39 PM | 06/24/2013 6:00 AM | 60 Hours, 21 Minutes | Xcel Energy | MRO | Minneapolis/St. Paul area Minnesota | Severe Weather - Hailstorm | Unknown | 400000
2013 | 6 | 06/23/2013 9:20 PM | 06/24/2013 1:35 AM | 4 Hours, 15 Minutes | Pacific Gas & Electric Co | WECC | Central Coast California | Severe Weather - Fog | Unknown | 148000
2013 | 6 | 06/24/2013 7:30 PM | 06/25/2013 5:46 PM | 22 Hours, 16 Minutes | Exelon Corporation/ComEd | RFC | Illinois | Severe Weather - Thunderstorms | Unknown | 283451
2013 | 6 | 06/24/2013 7:30 PM | 06/26/2013 5:00 PM | 45 Hours, 30 Minutes | Northern Indiana Public Service Company | RFC | Indiana | Severe Weather - Thunderstorms | Unknown | 86615
2013 | 6 | 06/27/2013 5:00 PM | 06/28/2013 12:00 AM | 7 Hours, 0 Minutes | Detroit Edison Co | RFC | South Eastern Michigan | Severe Weather - Thunderstorms | Unknown | 138000
2013 | 6 | 06/28/2013 6:02 PM | 06/28/2013 8:46 PM | 2 Hours, 44 Minutes | Southern California Edison Co | WECC | Los Angeles and Orange Counties, California | Equipment Failure | 240 | 65255
2013 | 7 | 07/02/2013 2:20 PM | 07/05/2013 3:30 PM | 73 Hours, 10 Minutes | Western Electricity Coordinating Council | WECC | Alberta, Canada | Load Shed 100+MW | 200 | Unknown
2013 | 7 | 07/03/2013 12:04 PM | 07/03/2013 12:48 PM | 0 Hours, 44 Minutes | Puerto Rico Electric Power Authority | N/A | System-wide Puerto Rico | Voltage Reduction; Line and Generator Trip | 480 | 393000
2013 | 7 | 07/10/2013 5:30 PM | 07/11/2013 8:00 PM | 26 Hours, 30 Minutes | American Electric Power | RFC | AEP Ohio Power Footprint | Severe Weather - Thunderstorms | N/A | 122314
2013 | 7 | 07/17/2013 3:30 PM | 07/19/2013 6:45 AM | 39 Hours, 15 Minutes | Long Island Power Authority | NPCC | Holtsville, New York | Fuel Supply Emergency (Natural Gas) | 417 | Unknown
2013 | 7 | 07/18/2013 11:30 AM | 07/19/2013 5:30 PM | 30 Hours, 0 Minutes | Niagara Mohawk Power Corp. | NPCC | Upstate New York | Public Appeal - Heatwave | Unknown | Unknown
2013 | 7 | 07/18/2013 11:45 PM | 07/19/2013 10:05 AM | 10 Hours, 20 Minutes | San Diego Gas & Electric Co | WECC | Southern Orange County California | Equipment Failure | 200 | 123000
2013 | 7 | 07/19/2013 6:00 PM | 07/20/2013 9:00 AM | 15 Hours, 0 Minutes | Detroit Edison Co | RFC | Michigan | Severe Weather - Thunderstorms | Unknown | 156627
2013 | 7 | 07/19/2013 10:30 PM | 07/21/2013 8:00 PM | 45 Hours, 30 Minutes | Niagara Mohawk Power Corporation (dba National Grid) | NPCC | New York | Severe Weather - Thunderstorms | Unknown | 74300
2013 | 7 | 07/23/2013 11:38 PM | 07/25/2013 4:30 AM | 28 Hours, 52 Minutes | American Electric Power | SPP | Tulsa, Oklahoma | Severe Weather - Thunderstorms | 500 | 92748
2013 | 8 | 08/01/2013 6:54 PM | 08/01/2013 7:37 PM | 0 Hours, 43 Minutes | WECC RC Vancouver | WECC | Western British Columbia | Electrical System Separation (Islanding | 420 | Unknown
2013 | 8 | 08/01/2013 11:19 PM | 08/02/2013 12:49 AM | 1 Hours, 30 Minutes | Florida Power & Light Co | FRCC | Daytona Beach Florida | Load Shed 200+ MW | 297 | 104498
2013 | 8 | 08/05/2013 6:35 PM | 08/05/2013 6:45 PM | 0 Hours, 10 Minutes | WECC RC Vancouver | WECC | Alberta, Canada | Electrical System Separation (Islanding); Severe Weather | Unknown | Unknown
2013 | 8 | 08/07/2013 12:15 AM | 08/07/2013 9:27 PM | 21 Hours, 12 Minutes | We Energies | MRO | Eastern Central Wisconsin | Severe Weather - Thunderstorms | 220 | 51160
2013 | 8 | 08/07/2013 7:30 AM | 08/07/2013 9:14 AM | 1 Hours, 44 Minutes | Wisconsin Public Service Corp | MRO | Wisconsin | Fuel Supply Emergency (Natural Gas & Fuel Oil) | Unknown | Unknown
2013 | 8 | 08/16/2013 4:58 PM | 08/17/2013 11:58 PM | 31 Hours, 0 Minutes | CenterPoint Energy | TRE | Houston Service Area Texas | Severe Weather - Thunderstorms | Unknown | 219681
2013 | 8 | 08/19/2013 7:06 PM | 08/20/2013 6:02 AM | 10 Hours, 56 Minutes | Southern California Edison Co | WECC | Central California | Severe Weather - Lightning Strike | 685 | 124000
2013 | 8 | 08/29/2013 2:57 PM | 08/29/2013 3:29 PM | 0 Hours, 32 Minutes | Xcel Energy | MRO | Ashland, Wisconsin | Electrical System Separation (Islanding); Severe Weather | 15 | 7000
2013 | 8 | 08/30/2013 7:30 PM | 08/31/2013 1:30 AM | 6 Hours, 0 Minutes | Exelon Corporation/ComEd | RFC | Entire ComEd territory Illinois | Severe Weather - Thunderstorms | Unknown | 157000
2013 | 9 | 09/10/2013 5:42 PM | 09/11/2013 12:02 AM | 6 Hours, 20 Minutes | PJM Interconnection | RFC | Erie, Pennsylvania | Load Shed of 100+ MW | 105 | Unknown
2013 | 9 | 09/11/2013 4:00 PM | 09/15/2013 4:00 PM | 96 Hours, 0 Minutes | Detroit Edison Co | RFC | Southeastern Michigan | Severe Weather - Thunderstorms | 400 | 75000
2013 | 10 | 10/21/2013 5:18 AM | 10/21/2013 5:33 AM | 0 Hours, 15 Minutes | Pacific Gas & Electric Co | WECC | Location Unknown | Electrical System Separation (Islanding) | 115 | 433
2013 | 10 | 10/27/2013 4:27 AM | 10/27/2013 10:27 PM | 18 Hours, 0 Minutes | CenterPoint Energy | TRE | Houston, Texas | Severe Weather - Hail Storm | Unknown | 171117
2013 | 11 | 11/02/2013 12:00 AM | 11/04/2013 6:00 AM | 54 Hours, 0 Minutes | Puget Sound Energy | WECC | King, Whatcom, and Skagit, Washington | Severe Weather - Heavy Winds | Unknown | 105000
2013 | 11 | 11/12/2013 9:14 AM | 11/12/2013 10:30 AM | 1 Hours, 16 Minutes | Farmers' Electric Coop, Inc | SPP | Eastern Central New Mexico | Loss of Power from Wholesale Provider; Major Distribution Disruption | Unknown | Unknown
2013 | 11 | 11/12/2013 2:04 PM | 11/12/2013 2:05 PM | 0 Hours, 1 Minutes | Pacific Gas & Electric Co | WECC | Valle, California | Electrical System Separation (Islanding) | 55 | 48400
2013 | 11 | 11/17/2013 7:00 AM | 11/20/2013 6:54 PM | 83 Hours, 54 Minutes | Detroit Edison Co | RFC | Michigan | Severe Weather - Ice and Snow Storm | Unknown | 325325
2013 | 11 | 11/17/2013 12:35 PM | 11/17/2013 1:40 PM | 1 Hours, 5 Minutes | City of Rochelle | RFC | Rochelle, Indiana | System-wide voltage reductions of 3 percent or more | 38 | 7500
2013 | 11 | 11/17/2013 12:35 PM | 11/20/2013 11:00 AM | 70 Hours, 25 Minutes | Ameren Missouri | SERC | Central Missouri, Central Illinois | Severe Weather - Tornadoes | Unknown | 200000
2013 | 11 | 11/17/2013 1:06 PM | 11/20/2013 1:06 PM | 72 Hours, 0 Minutes | Northern Indiana Public Service Company | RFC | North Central Indiana | Severe Weather - Thunderstorms | Unknown | 75065
2013 | 11 | 11/17/2013 2:31 PM | 11/17/2013 10:30 PM | 7 Hours, 59 Minutes | Commonwealth Edison Co | RFC | Entire ComEd Territory Illinois | Severe Weather - Thunderstorms | Unknown | 190000
2013 | 11 | 11/17/2013 4:19 PM | 11/18/2013 6:00 PM | 25 Hours, 41 Minutes | American Electric Power | RFC | Indiana, Michigan | Severe Weather - Thunderstorms | Unknown | 77346
2013 | 11 | 11/17/2013 4:45 PM | 11/21/2013 4:45 PM | 96 Hours, 0 Minutes | Consumers Energy Co | RFC | Entire Lower Peninsula Michigan | Severe Weather - Thunderstorms | Unknown | 50000
2013 | 11 | 11/17/2013 4:47 PM | 11/20/2013 11:59 AM | 67 Hours, 12 Minutes | Duke Energy Indiana Inc | RFC | Central Indiana | Severe Weather - Tornadoes | 535 | 61705
2013 | 11 | 11/17/2013 4:47 PM | 11/20/2013 4:47 PM | 72 Hours, 0 Minutes | Duke Energy Midwest | RFC | Central Indiana | Severe Weather - Thunderstorms | Unknown | 61705
2013 | 11 | 11/21/2013 7:45 PM | 11/22/2013 3:20 AM | 7 Hours, 35 Minutes | Pacific Gas & Electric Co | WECC | Northern California | Severe Weather - Wind Storm | 150 | 89500
2013 | 12 | 12/04/2013 5:00 AM | 12/04/2013 4:17 PM | 11 Hours, 17 Minutes | WECC - Loveland | WECC | Idaho Falls Area Idaho, Utah-Idaho Border Utah | Load Shed 100+ MW | 150 | Unknown
2013 | 12 | 12/06/2013 1:51 AM | 12/11/2013 12:00 PM | 130 Hours, 9 Minutes | Oncor Electric Delivery Company LLC | TRE | Greater Houston, Texas | Severe Weather - Ice/Snow | Unknown | 881000
2013 | 12 | 12/09/2013 6:54 AM | 12/09/2013 2:22 PM | 7 Hours, 28 Minutes | Dominion Virginia Power | SERC | Virginia Service Territory | Severe Weather - Ice/Snow | 293 | 88000
2013 | 12 | 12/13/2013 11:00 AM | 12/27/2013 11:00 AM | 336 Hours, 0 Minutes | Texas Municipal Power Agency | TE | Texas | Fuel Supply Emergencies (Coal) | Unknown | Unknown
2013 | 12 | 12/13/2013 11:00 AM | 12/27/2013 11:00 AM | 336 Hours, 0 Minutes | City of Garland | TRE | Texas | Fuel Supply Emergencies (Coal) | Unknown | Unknown
2013 | 12 | 12/22/2013 3:28 AM | 12/28/2013 11:45 PM | 164 Hours, 17 Minutes | Consumers Energy Co | RFC | Southern Lower Penninsula, Michigan | Severe Weather - Ice/Snow | Unknown | 50000
2013 | 12 | 12/22/2013 6:16 AM | 12/24/2013 11:59 PM | 65 Hours, 43 Minutes | Niagara Mohawk Power Corp. | NPCC | Frontier/Genesee/Northern New York | Severe Weather - Ice/Snow | Unknown | 59000
2013 | 12 | 12/22/2013 6:30 AM | 12/25/2013 5:12 AM | 70 Hours, 42 Minutes | Detroit Edison Co | RFC | Michigan | Severe Weather - Ice/Snow | 350 | 140735
2013 | 12 | 12/23/2013 3:20 PM | 12/25/2013 11:32 AM | 44 Hours, 12 Minutes | Central Maine Power Co | NPCC | Central Maine Maine | Severe Weather - Ice/Snow | Unknown | 52500
Note: Customers affected are estimates and are preliminary. Source: Form OE-417, 'Electric Emergency Incident and Disturbance Report.'